## Example 1
Possible Savings
% of Total
|  |  | $ | Comment
Site Works |  | 15852365 | 15852365 |  | 4.46%
Turbine Foundation Work |  | 14981500 | 14232425 | would see a 95% saving in this area ( keeping some money for concrete restoration and bolt cleanup etc. | 4.005%
Wind Turbine Installation |  | 12793500
Electrical Gathering System |  | 15947490 | 15947490 |  | 4.487%
Substation & Communications |  | 11035100 | 11035100 |  | 3.105%
Transmission Interconnection |  | 14490000 | 14490000 |  | 4.077%
Operations & Maintenance Facility |  | 1000000
Site Investigations & Quality Control |  | 1454295 | 290859 | perhaps 20% saving here but small $ | 0.08184%
General Contractor Services |  | 7140269
Project Management & Engineering |  | 3623000
Owner's Development Costs |  | 3523582 | 1761791 | assume 50% of these costs will not happen | 0.4957%
Contingencies |  | 15095015
| Turbine Supply | 238469650.6
| Total | 355405766.6 | 73610030 | 20.71% | 20.71%
Note on A9: Ryan Tourigny: Including Generator System Contribution Cost
Note on B19: Ryan Tourigny: All inclusive of delivery, commissioning services, tower supply, etc. but net of warranty costs which are part of operations.
Note on C19: Ryan Tourigny: Note this number has been adjusted to reflect current CAD/USD exchange as compared to assumed f/x rate in Can Projects estimate

## Example 2
Project Cost Summary (C$) |  |  |  | % | Avoided
Development Costs |  |  | 5965236.39 | 2.03% | 4910000
WTG Purchase & Accessories |  |  | 243684064.7943 | 82.95% | 0
Balance of Plant |  |  | 29002340 | 9.872% | 48399736.7 | See below
Utility Interconnection |  |  | 0 | 0% | 0
Financing Costs |  |  | 124740 | 0.04246% | 0
Other |  |  | 15009189.0039 | 5.109% | 8844490.1997
TOTAL PROJECT COSTS |  |  | 293785570.1883 | 100% | 62154226.8997 | 21.16%
BOP COST / TURBINE |  |  | 483372.3333
COSTS / INSTALLED kW |  |  | 2119.665
Development Costs (C$) | Driver |  |  |  | Avoided
Development MET Towers | 200000 | C$ | 200000 |  | 200000
Site Investigation | 200000 | C$ | 200000 |  | 200000
Land Option and Lease Cost | 25000 | C$ | 25000
MRC Payments | 1200 | 138.6 | 166320
Geo Survey | 180000 | C$ | 180000 |  | 180000
Woodlot Removal/Clearing | 1500000 | C$ | 1500000 |  | 1500000
Wind Study | 260000 | C$ | 260000 |  | 260000
Construction Permitting | 166100 | C$ | 166100
Environmental & Avian Studies | 420000 | C$ | 420000 |  | 420000
Internal Development Costs | 1800000 | C$ | 1800000 |  | 1800000
Development Legal Fees | 350000 | C$ | 350000 |  | 350000
Success Fee Payment | 657816.39 | C$ | 657816.39
Electrical Interconnection Studies | 40000 | C$ | 40000
Total |  |  | 5965236.39 |  | 4910000
OEM WTG Purchase, Accessories & Construction (C$) | Driver
OEM WTGs
OEM 2.31 MW WTGs incl Padmount, Wiring, Comm | 3141458.7641 | 60 | 188487525.8448
FTQS | 45464.8565 | 60 | 2727891.3879
Turbine Erection | 46575 | 60 | 2794500
Base Section Erection Cranes | 72450 | 60 | 4347000
Service Platforms | 27127.3644 | 60 | 1627641.8614
Aviation Lights | 2587.5 | 60 | 155250
Heated Blade Option | 37887.3804 | 60 | 2273242.8232
Oversea and Canadian Transport | 279450 | 60 | 16767000
PDI | 5910.4313 | C$ | 5910.4313
GDA | 15003.4026 | C$ | 15003.4026
VCS | 303099.0431 | C$ | 303099.0431
Sub-Total OEM WTG Contract
OEM BOP
Foundation Excavation & Construction | 378000 | 60 | 22680000
Turbine Erection Cranes | 25000 | 60 | 1500000
Sub-Total | 24180000
Total |  |  | 243684064.7943
Balance of Plant (C$) | Driver
Non-OEM BOP
Payment & Performance Bonds | 319000 | C$ | 319000
Civil/Crane Pads/Roads | 25504443 | C$ | 25504443 |  | 22953998.7 | Some Civil still needed
Substation Design and Installation (315kv) | 5624406 | C$ | 5624406 |  | 5624406
Collection System Design, Cable & Installation | 19821332 | C$ | 19821332 |  | 19821332
Final Site Remediation | 567159 | C$ | 567159
Sub-Total Non-OEM Turbine BOP Cost | 51836340
GSU | 2500000 | C$ | 2500000
O&M Building | 1000000 | C$ | 1000000
Reimbursable Collection System Costs | -190000 | 138.6 | -26334000
Total |  |  | 29002340 |  | 48399736.7
Utility Interconnection (C$) | Driver
Interconnection | Substation Included in BOP Above |  | 0
Total |  |  | 0
Financing Costs (C$) | Driver
LOC Fees During Construction | 2772000 | 3% | 124740
Total |  |  | 124740
Other (C$) | Driver
Title Insurance | 0 | C$ | 0
Owner's Construction Management | 47037.4117 | C$/month | 893710.8229
PST Due | 206254280.7048 | 7.5% | 15469071.0529
PST Reimbursed |  | C$ | -13148710.3949
GST Due | 206254280.7048 | 5% | 10312714.0352
GST Reimbursed |  | C$ | -8765806.93
Training & Mobilization | 578720.2182 | C$ | 578720.2182
Builders All-Risk Insurance | 13750 | C$/WTG | 825000
Contingency | 3% | C$ | 8544490.1997 |  | 8544490.1997
Working Capital Reserve | 300000 | C$ | 300000 |  | 300000
Construction Period Revenues |  | C$ | 0
Total |  |  | 15009189.0039 |  | 8844490.1997
Total Costs by Month
|  |  | Running Total |  | 62154226.8997

## Example 3
Project Cost Summary |  |  | Total | Avoided
Development Costs |  | C$ | 6871060.95 | 3771035.95
WTG Purchase |  | C$ | 124619683.8461 | 0
Balance of Plant |  | C$ | 49753785.5036 | 36313718.6075
Utility Interconnection |  | C$ | 2350000 | 2350000
Financing Costs |  | C$ | 25640808.5062 | 0
Other |  | C$ | 10304804.793 | 6800000
TOTAL PROJECT COSTS |  | C$ | 219540143.5989 | 49234754.5575 | 22.43%
COSTS / INSTALLED kW |  |  | 2814.6172
Development Costs | Driver | Basis | Total
Site Investigation & Misc Development Work | 165000 | C$ | 165000 | 165000
Turbine Supply Loan Allocation | 950000 | C$ | 950000
Land Options | 660000 | C$ | 660000
Crop Compensation | 150000 | C$ | 150000
Geotech Survey | 300000 | C$ | 300000 | 300000
Dynamic Consulting | 35025 | C$ | 35025
Reference Plans | 400000 | C$ | 400000
Culvert & Bridge Survey | 80000 | C$ | 80000 | 80000
Development MET Towers | 50000 | C$ | 50000 | 50000
Wind Study | 112000 | C$ | 112000 | 112000
Environmental Studies (EA) & Permitting | 525000 | C$ | 525000
Phase 1 ESA | 45000 | C$ | 45000
Internal Development Costs | 975000 | C$ | 975000 | 975000
Development Legal Fees | 335000 | C$ | 335000
Electrical Interconnection Studies | 80000 | C$ | 80000 | 80000
Building Permits, GE Drawings | 273000 | C$ | 273000 | 273000
3rd Party Developer Success Fee | 1736035.95 | C$ | 1736035.95 | 1736035.95
Total |  |  | 6871060.95 | 3771035.95
WTG Purchase & Construction | Driver | Basis | Total
Costs per unit (C$)
1.5 XLE WTG | 2080659.425 | C$/WTG
Turbine SCADA | 3164.1 | C$/WTG
Turbine Windfarm Management System | 7910.25 | C$/WTG
Cold Weather Package | 21094 | C$/WTG
Expanded Power Factor | 5273.5 | C$/WTG
Transportation | 175080.2 | C$/WTG
Total Cost per unit (C$) | 2293181.475 | C$/WTG
Costs per substation/project (C$)
Project SCADA | 105470 | C$
Project Windfarm Management System | 52735 | C$
Dynamic VAR Control | 52735 | C$
Power Curtailment | 131837.5 | C$
Capacitor Bank Control | 105470 | C$
Total Costs per substation (C$) | 448247.5 | C$
Total USD Contract Cost not yet Paid (C$) | 69930916.8868 | C$ | 69930916.8868
USD Contract Payments Transferred from USD to CAD | 50583732.66 | C$ | 50583732.66
CAD Costs (per unit)
Start Up and Commissioning | 57000 | C$/WTG | 2964000
CSA Certification | 3225.8065 | C$/WTG | 167741.9355
Other WTG Costs
Climb Assist | 4218.8 | C$/WTG | 219377.6
PI Software | 1209.7409 | C$/WTG | 62906.5268
Final FX Rate Adjustment | 691008.237 | C$ | 691008.237
Total Turbine Contract |  |  | 124619683.8461 | 0
Balance of Plant | Driver | Basis | Total
BOP Contract | 39827084.9 | 52 | 39827084.9 | 31861667.92 | 75% of costrs avoided in build out #2
BOP Contract - Payment & Performance Bond | 73300 | C$ | 73300
Collection Cable Material & Labor outside scope of BOP Contract | 3500000 | C$ | 3500000
Telco Service to Substation | 300000 | C$ | 300000 | 300000
Revenue Metering & Communications | 300000 | C$ | 300000 | 300000
WTG Maintenance prior to Backfeed | 66000 | C$ | 66000
FAA lights | 3786.7436 | 37 | 140109.5121
Padmount Transformers | 32600.777 | 52 | 1695240.404
GSU Transformer | 2052050.6875 | C$ | 2052050.6875 | 2052050.6875 |  | should be a saving here if no capacity increase
Public Road Repairs & Improvements | 500000 | C$ | 500000 | 500000
O&M Building | 1300000 | C$ | 1300000 | 1300000
Total |  |  | 49753785.5036 | 36313718.6075
Utility Interconnection | Driver | Basis | Total
Transmission Line | 0 | 0 | 0
Long Term Lead Item Order (Pre-CCRA) | 500000 | C$ | 500000 | 500000
Interconnect (CCRA) - Tap at 230kv Tline | 750000 | C$ | 750000 | 750000
DVAR/CAP Banks | 100000 | C$ | 100000 | 100000
HONI | 600000 | C$ | 600000 | 600000 |  | should be savings here
Non-Reimbursable Network Upgrades | 400000 | C$ | 400000 | 400000
Reimbursable Network Upgrades | 0 | C$ | 0
Total |  |  | 2350000 | 2350000
Financing Costs | Driver | Basis | Total
Term Debt Upfront Fee - Tranche A | 165938568 | 1.5% | 2489078.52
Accordian Upfront Fee - Tranche B | 8931057.5204 | 1.5% | 133965.8628
Letter of Guarantee Upfront Fee | 3900000 | 1.5% | 58500
Letter of Credit Upfront Fee | 3900000 | 0.2% | 7800
Interest During Construction - Tranche A & B | See Schedule Below |  | 11431423.5751
Term Debt Commitment Fees | 165938568 | 0% | 0
Accordian Commitment Fees | 8931057.5204 | 0.75% | 35051.3422
Interest Earned on Uninvested Loan Proceeds | 165938568 | 0.5% | -250399.1133
Letter of Guarantee Carrying Fees | 3900000 | 3.35% | 123133.1507
Manu Construction Loan Admin Fee | 6000 | C$/mo | 72000
Lender's Insurance Advisor | 25000 | C$ | 25000
Lender's Engineer | 270000 | C$ | 270000
Local Legal Fees Lender & Owner | 0 | C$ | 0
Lender's Legal Fees | 800000 | C$ | 800000
Owner's Legal Fees | 1200000 | C$ | 1200000
Equity Legal | 0 | C$ | 0
Equity Consultants | 0 | C$ | 0
Tranche A Debt Service Reserve |  |  | 8630385.2707
Tranche B Debt Service Reserve |  |  | 614869.898
Total |  |  | 25640808.5062 | 0
Other | Driver | Basis | Total
Title Insurance | 155000 | C$ | 155000
Owner's Construction & Services Mgmt Fee | 61000 | C$/month | 610000
Canadian GST Due | 166862708.5727 | 5% | 8343135.4286
Canadian GST Refunded |  |  | -7378127.7989
Canadian PST Due | 559996.3237 | 8% | 44799.7059
Training & Mobilization & Spare Parts Inventory | 1119992.6473 | C$ | 1119992.6473
Builders All-Risk Insurance (including Marine & Cargo) | 11730.8617 | 52 | 610004.81
Project Contingency |  | C$ | 6300000 | 6300000
Working Capital Reserve Account | 500000 | C$ | 500000 | 500000
Total |  |  | 10304804.793 | 6800000
Total Costs by Month