## Sheet1
Synapse IR-018 Attachment 2 - Wind Integration Capital Cost worksheet
Wind 540MW Case | Estimated Cost Low ($Millions) | Estimated Cost High ($Millions) |  |  |  | Low Load Case (785MW) - Incremental costs for 250MW of wind
New Gas CT Plant #1 | 60 | 100 |  |  |  | In the Low Load case we are adding a 50MW CT in the resource plan in 2019 for reserve margin. It is assumed that this CT can be run for wind integration purposes and represents either the 50MW CT in the Low cost case or the 100MW CT in the High cost case. Therefore we did not include a CT in the integration costs in the Low Load. Also note that the CC250MW built in 2030 in the Low Load case could be built as only the CT portion in 2019 with a HRSG added in 2030 when it is required for energy/ emissions. We did not advance the cost of the CC250 so we kept the costs on the conservative side. We then took the transmissions costs and Energy storage costs and averaged the low and high cost values to get a mid value that was modeled in Strategist ($372.5M).
New Gas CT Plant #2 | 0 | 100
General Transmission Upgrades | 0 | 0
Energy Storage | 0 | 0
Total Capital Costs | 60 | 200
Low Load Case |  |  | Low Load Case (785MW) - Incremental costs for 250MW of wind
Wind 780MW Case | Estimated Cost Low ($Millions) | Estimated Cost High ($Millions) | Estimated Cost Low ($Millions) | Estimated Cost High ($Millions) | Estimated Cost Mid ($Millions)
New Gas CC Plant #1 | 60 | 100 | 0 | 0 | 0
New Gas CC Plant #2 | 60 | 100 | 60 | 0 | 0
New Gas CC Plant #3 | 0 | 100 | 0 | 100 | 0
General Transmission Upgrades & Tieline | 170 | 275 | 170 | 275 | 222.5
Energy Storage | 0 | 300 | 0 | 300 | 150
Total Capital Costs | 290 | 875 | 230 | 675 | 372.5
Base Load Case |  |  | Base Load Case (960MW) - Incremental costs for 425MW of wind
Wind 900+MW Case | Estimated Cost Low ($Millions) | Estimated Cost High ($Millions) | Estimated Cost Low ($Millions) | Estimated Cost High ($Millions) | Estimated Cost Mid ($Millions) | Base Load Case (960MW) - Incremental costs for 425MW of wind
New Gas CC Plant #1 | 60 | 100 | 0 | 0
New Gas CC Plant #2 | 60 | 100 | 60 | 0 | 0 | In the Base Load case we are adding a 50MW CT in the resource plan in 2019 for reserve margin. It is assumed that this CT can be run for wind integration purposes and represents either the two 50MW CT in the Low cost case or the 100MW CT in the High cost case. Therefore we did not include a CT in the integration costs in the Base Load. Also note that the CC250MW built in 2026 in the Base Load case could be built as only the CT portion in 2019 with a HRSG added in 2026 when it is required for energy/ emissions. We did not advance the cost of the CC250 so we kept the costs on the conservative side. We then took the transmissions costs and Energy storage costs and averaged the low and high cost values to get a mid value that was modeled in Strategist ($655M).
New Gas CC Plant #3 | 60 | 100 | 60 | 100 | 0
General Transmission Upgrades & Tieline | 170 | 540 | 170 | 540 | 355
Energy Storage (pumped storage) | 200 | 400 | 200 | 400 | 300
Total Capital Costs | 550 | 1240 | 490 | 1040 | 655