## ML Base Load
Maritime Link Base Load
| Operating Costs (k$): |  |  |  |  | Capital Costs (k$):
| Total Unit Cost | Renewables IPPs | Maritime Link (Base Block and Supplemental) | Imports * | Total Operating Cost (k$) | Maritime Link | CC 250 MW 2030 | CC 250 MW 2035 | Total Capital Cost (k$)
2015 | 472514.053 | 119579.4 | 0 | 0 | 592093.453 | 0 | 0 | 0 | 0
2016 | 487564.386 | 130682 | 0 | 0 | 618246.386 | 0 | 0 | 0 | 0
2017 | 430929.608 | 140587.9 | 0 | 52250.65 | 623768.158 | 22033.24 | 0 | 0 | 22033.24
2018 | 327121.306 | 150759.6 | 0 | 90078.42 | 567959.326 | 155702.7 | 0 | 0 | 155702.7
2019 | 336969.262 | 150804 | 0 | 92690.24 | 580463.502 | 160477.3 | 0 | 0 | 160477.3
2020 | 355924.653 | 151177.5 | 0 | 95790.66 | 602892.813 | 151105.3 | 0 | 0 | 151105.3
2021 | 364973.421 | 150895.6 | 0 | 100670.4 | 616539.421 | 155947.6 | 0 | 0 | 155947.6
2022 | 378815.268 | 150942.8 | 0 | 107153.7 | 636911.768 | 146513.5 | 0 | 0 | 146513.5
2023 | 389037.551 | 129841.6 | 0 | 120638.2 | 639517.351 | 143823.9 | 0 | 0 | 143823.9
2024 | 398911.575 | 130218.8 | 0 | 124036.1 | 653166.475 | 141413.1 | 0 | 0 | 141413.1
2025 | 408721.691 | 129940.8 | 0 | 133142.3 | 671804.791 | 139011.2 | 0 | 0 | 139011.2
2026 | 419724.187 | 129991.8 | 0 | 136165.3 | 685881.287 | 146145.3 | 0 | 0 | 146145.3
2027 | 430480.605 | 130043.9 | 0 | 141018.2 | 701542.705 | 135822.8 | 0 | 0 | 135822.8
2028 | 442140.51 | 130425.2 | 0 | 142869.8 | 715435.51 | 147260.8 | 0 | 0 | 147260.8
2029 | 445828.098 | 130151.2 | 0 | 156747.8 | 732727.098 | 146987.7 | 0 | 0 | 146987.7
2030 | 468285.726 | 130206.5 | 0 | 155652.3 | 754144.526 | 145737.6 | 49593.2994 | 0 | 195330.8994
2031 | 477171.039 | 130262.9 | 0 | 160575.7 | 768009.639 | 153641.1 | 48695.5798 | 0 | 202336.6798
2032 | 491603.798 | 130648.5 | 0 | 165393.3 | 787645.598 | 142802.1 | 47797.862 | 0 | 190599.962
2033 | 508412.868 | 130379 | 0 | 177011.2 | 815803.068 | 141184.9 | 46900.1515 | 0 | 188085.0515
2034 | 527666.041 | 130438.9 | 0 | 189022 | 847126.941 | 139470.6 | 46002.4334 | 0 | 185473.0334
2035 | 564515.656 | 130499.9 | 0 | 182346.1 | 877361.656 | 137673.4 | 45104.7206 | 54755.0098 | 237533.1304
2036 | 580311.571 | 130890.3 | 0 | 194717.6 | 905919.471 | 146337.4 | 44207.0011 | 53763.8549 | 244308.256
2037 | 607755.983 | 130625.6 | 0 | 201124.7 | 939506.283 | 133854.6 | 43309.2884 | 52772.7019 | 229936.5903
2038 | 638206.691 | 130690.4 | 0 | 206798.5 | 975695.591 | 131858.3 | 42411.5764 | 51781.5569 | 226051.4333
2039 | 663394.875 | 130756.4 | 0 | 220211.9 | 1014363.175 | 129802.4 | 41513.8579 | 50790.4036 | 222106.6615
2040 | 696755.3333 | 131151.9 | 0 | 229780.8 | 1057688.0333 | 127697.7 | 40616.1415 | 49799.2562 | 218113.0976
NPV Cost (k$) |  |  |  |  | 9030491.5725 |  |  |  | 1745566.3704
Total Planning Period NPV (k$) | 10776057.9429
* Imports over the NS-NB Tieline and surplus energy from Maritime Link

## OI Base Load
Other Import Base Load
| Operating Costs (k$): |  |  |  |  | Capital Costs (k$):
| Total Unit Cost | Renewables IPPs | Other Import (Contract Energy) | Imports * | Total Operating Cost (k$) | Other Import (Contract Energy) | CT 50 MW 2029 | CT 50 MW 2030 | CC 250 MW 2033 | Total Capital Cost (k$)
2015 | 472514.053 | 119579.4 | 0 | 0 | 592093.453 | 0 | 0 | 0 | 0 | 0
2016 | 487564.386 | 130682 | 0 | 0 | 618246.386 | 0 | 0 | 0 | 0 | 0
2017 | 423295.401 | 146118.93 | 15955.07 | 60390.3 | 645759.701 | 8117.627 | 0 | 0 | 0 | 8117.627
2018 | 298639.375 | 173105.56 | 65988.24 | 122638.5 | 660371.675 | 56905.61 | 0 | 0 | 0 | 56905.61
2019 | 308079.202 | 173374.02 | 70829.88 | 124468.3 | 676751.402 | 57449.86 | 0 | 0 | 0 | 57449.86
2020 | 326077.432 | 173974.5 | 76639.4 | 129997.7 | 706689.032 | 57844.99 | 0 | 0 | 0 | 57844.99
2021 | 332128.519 | 173922.58 | 81297.72 | 137173.5 | 724522.319 | 58102.72 | 0 | 0 | 0 | 58102.72
2022 | 343824.294 | 174200.82 | 86975.18 | 141867 | 746867.294 | 58234.15 | 0 | 0 | 0 | 58234.15
2023 | 351144.275 | 153333.62 | 89650.38 | 147725.9 | 741854.175 | 58249.43 | 0 | 0 | 0 | 58249.43
2024 | 360980.544 | 153947.83 | 91709.57 | 150241.1 | 756879.044 | 58157.75 | 0 | 0 | 0 | 58157.75
2025 | 371388.516 | 153907.76 | 93300.24 | 158709.3 | 777305.816 | 57967.75 | 0 | 0 | 0 | 57967.75
2026 | 378762.928 | 154199.9 | 95177.8 | 164166.6 | 792307.228 | 57687.29 | 0 | 0 | 0 | 57687.29
2027 | 389686.964 | 154495.91 | 97093.59 | 167365.5 | 808641.964 | 57323.64 | 0 | 0 | 0 | 57323.64
2028 | 400357.03 | 155123.15 | 99318.95 | 170121.5 | 824920.63 | 56883.31 | 0 | 0 | 0 | 56883.31
2029 | 408952.189 | 155097.3 | 101040.7 | 177955.6 | 843045.789 | 56372.52 | 6996.9385 | 0 | 0 | 63369.4585
2030 | 408744.124 | 155403.5 | 103073.9 | 202297.1 | 869518.624 | 55796.83 | 6870.2825 | 7136.8773 | 0 | 69803.9898
2031 | 417277.2 | 155713.9 | 105148.1 | 206667.4 | 884806.6 | 55161.66 | 6743.6268 | 7007.6882 | 0 | 68912.9749
2032 | 424861.174 | 156355.6 | 107557.1 | 216246.7 | 905020.574 | 54471.37 | 6616.9721 | 6878.4993 | 0 | 67966.8414
2033 | 442262.03 | 156344 | 109421.3 | 226108.7 | 934136.03 | 53730.81 | 6490.3163 | 6749.3115 | 52628.806 | 119599.2438
2034 | 463253.497 | 156664.9 | 111622.2 | 241177.3 | 972717.897 | 52943.82 | 6363.6612 | 6620.1226 | 51676.1389 | 117603.7427
2035 | 484035.091 | 156989.9 | 113866.9 | 256353.7 | 1011245.591 | 52113.97 | 6237.0053 | 6490.9345 | 50723.4736 | 115565.3833
2036 | 502655.552 | 157647.3 | 116475.5 | 264102.2 | 1040880.552 | 51244.92 | 6110.3502 | 6361.7454 | 49770.816 | 113487.8316
2037 | 524876.625 | 157651.6 | 118492.4 | 268689.3 | 1069709.925 | 50339.67 | 5983.6953 | 6232.5572 | 48818.1503 | 111374.0729
2038 | 544348.699 | 157988.3 | 120875 | 275845.1 | 1099057.099 | 49401.11 | 5857.0395 | 6103.3692 | 47865.4904 | 109227.009
2039 | 573280.889 | 158328.4 | 123306.1 | 282751.1 | 1137666.489 | 48432.16 | 5730.3839 | 5974.1802 | 46912.8233 | 107049.5474
2040 | 606499.7323 | 159001.9 | 126129.3 | 299821.5 | 1191452.4323 | 47434.78 | 5603.7289 | 5844.9916 | 45960.1633 | 104843.6639
NPV Cost (k$) |  |  |  |  | 10182718.8946 |  |  |  |  | 730866.6535
Total Planning Period NPV (k$) | 10913585.548
* Imports over the upgraded NS-NB Tieline.

## Wind Base Load
Indigenous Wind Base Load
| Operating Costs (k$): | [5 empty] | Capital Costs (k$):
| Total Unit Cost | Renewables IPPs | Incremental Wind | Imports * | Less Exports * | Total Operating Cost (k$) | Incremental Wind | CT 50 MW 2019 | CC 250 MW 2026 | CC 150 MW 2030 | CC 250 MW 2035 | CC 150 MW 2039 | Wind Integration - Transmission | Wind Integration - Energy Storage | Total Capital Cost (k$)
2015 | 472514.053 | 119579.4 | 0 | 0 | 0 | 592093.453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 487564.386 | 130682 | 0 | 0 | 0 | 618246.386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 468798.853 | 140587.9 | 0 | 42011.77 | 3082.275 | 648316.248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 475766.375 | 150759.6 | 0 | 43339.18 | 2082.663 | 667782.492 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 455985.735 | 165759.17 | 1526.73 | 0 | 7605.947 | 615665.688 | 55216.79 | 5739.9266 | 0 | 0 | 0 | 0 | 41384.835 | 34973.1 | 137314.6516
2020 | 484207.381 | 166431.029 | 1563.071 | 0 | 9010.763 | 643190.718 | -4184.84 | 5636.0246 | 0 | 0 | 0 | 0 | 34055.1358 | 28779 | 64285.3204
2021 | 495205.644 | 166454.39 | 1588.41 | 0 | 6956.464 | 656291.98 | 63149.72 | 5532.1228 | 0 | 0 | 0 | 0 | 34267.085 | 28958.1 | 131907.0278
2022 | 509049.861 | 166812.922 | 1620.178 | 0 | 6594.17 | 670888.791 | 97643.07 | 5428.2218 | 0 | 0 | 0 | 0 | 34392.826 | 29064.4 | 166528.5178
2023 | 523439.126 | 146029.117 | 1652.583 | 0 | 5709.54 | 665411.286 | 114336.53 | 5324.3199 | 0 | 0 | 0 | 0 | 34439.047 | 29103.4 | 183203.2969
2024 | 538292.33 | 146729.682 | 1691.918 | 0 | 2217.078 | 684496.852 | 121382.31 | 5220.4187 | 0 | 0 | 0 | 0 | 34412.138 | 29080.7 | 190095.5667
2025 | 572792.49 | 146781.953 | 1719.347 | 0 | 235.4249 | 721058.3651 | 123199.15 | 5116.5167 | 0 | 0 | 0 | 0 | 34318.134 | 29001.3 | 191635.1007
2026 | 570192.634 | 147170.367 | 1753.733 | 0 | 7896.478 | 711220.256 | 122181.9 | 5012.6154 | 45816.5428 | 0 | 0 | 0 | 34162.289 | 28869.5 | 236042.8472
2027 | 586774.885 | 147565.791 | 1788.809 | 0 | 597.0831 | 735532.4019 | 119628.7 | 4908.7143 | 44987.1887 | 0 | 0 | 0 | 33949.573 | 28689.7 | 232163.8759
2028 | 603564.812 | 150397.9246 | 2028.3754 | 0 | 372.2298 | 755618.8822 | 123978.3 | 4804.8124 | 44157.8362 | 0 | 0 | 0 | 33684.459 | 28465.6 | 235091.0076
2029 | 644613.3202 | 150523.241 | 2061.259 | 0 | 212.1544 | 796985.6658 | 111819.4 | 4700.9107 | 43328.4904 | 0 | 0 | 0 | 33371.207 | 28201 | 221421.0081
2030 | 688062.7789 | 150985.8164 | 2102.4836 | 0 | 184.0182 | 840967.0607 | 117170.8 | 4597.0095 | 42499.1377 | 29299.7213 | 0 | 0 | 33013.58 | 27898.8 | 254479.0484
2031 | 714460.0273 | 151458.2667 | 2144.5333 | 0 | 205.5764 | 867857.2509 | 117788.7 | 4493.1078 | 41669.7898 | 28769.3486 | 0 | 0 | 32615.27 | 27562.2 | 252898.4162
2032 | 748421.8932 | 152267.9214 | 2195.5786 | 0 | 193.2375 | 902692.1557 | 115841.3 | 4389.2062 | 40840.4358 | 28238.9769 | 0 | 0 | 32179.33 | 27193.9 | 248683.1489
2033 | 803591.8441 | 152430.3265 | 2231.1735 | 0 | 171.8948 | 958081.4493 | 112503.4 | 4285.3048 | 40011.088 | 27708.6095 | 0 | 0 | 31708.6 | 26796.4 | 243013.4023
2034 | 829003.1619 | 155295.5856 | 2496.8144 | 0 | 211.9662 | 986583.5957 | 117123.2 | 4181.4027 | 39181.7408 | 27178.2376 | 0 | 0 | 31207.34 | 26372.2 | 245244.1212
2035 | 811816.3393 | 155856.049 | 2546.751 | 0 | 575.0964 | 969644.0429 | 103251.3 | 4077.5017 | 38352.3877 | 26647.8689 | 54755.0098 | 0 | 30675.55 | 25923.2 | 283682.8182
2036 | 850067.4119 | 156752.931 | 2607.369 | 0 | 397.4221 | 1009030.2898 | 109153.3 | 3973.6001 | 37523.0365 | 26117.4963 | 53763.8549 | 0 | 30118.2 | 25451.7 | 286101.1877
2037 | 871288.552 | 159514.7141 | 2884.1859 | 0 | 375.3776 | 1033312.0744 | 118998.1 | 3869.6983 | 36693.6891 | 25587.1276 | 52772.7019 | 0 | 29534.58 | 24959.2 | 292415.0969
2038 | 923539.5773 | 160156.9291 | 2941.8709 | 0 | 294.3012 | 1086344.0761 | 106780.1 | 3765.7963 | 35864.3376 | 25056.7593 | 51781.5569 | 0 | 28929.66 | 24447.3 | 276625.5101
2039 | 964092.019 | 160814.3933 | 3000.7067 | 0 | 260.8575 | 1127646.2615 | 110014.8 | 3661.8961 | 35034.9867 | 24526.3872 | 50790.4036 | 35015.8792 | 28303.44 | 23918 | 311265.7928
2040 | 1022130.8751 | 161810.4681 | 3072.1319 | 0 | 249.0708 | 1186764.4043 | 45434.7 | 3557.9938 | 34205.6377 | 23996.0164 | 49799.2562 | 34382.0347 | 27657.127 | 23372.3 | 242405.0657
NPV Cost (k$) | [5 empty] | 9720583.5217 | [8 empty] | 1922136.9625
Total Planning Period NPV (k$) | 11642720.4843
* Imports and Exports over the NS-NB Tieline.

## ML Low Load
Maritime Link Low Load
| Operating Costs (k$): |  |  |  |  | Capital Costs (k$):
| Total Unit Cost | Renewables IPPs | Maritime Link (Base Block and Supplemental) | Imports * | Total Operating Cost (k$) | Maritime Link
2015 | 465585.005 | 119579.4 | 0 | 0 | 585164.405 | 0
2016 | 478462.983 | 130682 | 0 | 0 | 609144.983 | 0
2017 | 427405.89 | 140587.9 | 0 | 45999.65 | 613993.44 | 22033.24
2018 | 324388.539 | 150759.6 | 0 | 82709.88 | 557858.019 | 155702.7
2019 | 332916.9 | 150804 | 0 | 84682.13 | 568403.03 | 160477.3
2020 | 293934.837 | 155202.6 | 0 | 65455.83 | 514593.267 | 151105.3
2021 | 297627.39 | 154930.8 | 0 | 68249.9 | 520808.09 | 155947.6
2022 | 306947.494 | 154988.2 | 0 | 71754.91 | 533690.604 | 146513.5
2023 | 317612.305 | 130375.5 | 0 | 75988.24 | 523976.045 | 143823.9
2024 | 314454.23 | 130763.4 | 0 | 82552.9 | 527770.53 | 141413.1
2025 | 319166.22 | 130496.2 | 0 | 86071.73 | 535734.15 | 139011.2
2026 | 321965.624 | 130558.4 | 0 | 86386.09 | 538910.114 | 146145.3
2027 | 325755.211 | 130621.8 | 0 | 86974.31 | 543351.321 | 135822.8
2028 | 330611.341 | 131014.6 | 0 | 85827.24 | 547453.181 | 147260.8
2029 | 321299.313 | 130752.4 | 0 | 96529.3 | 548581.013 | 146987.7
2030 | 327016.36 | 130819.7 | 0 | 98868.28 | 556704.34 | 145737.6
2031 | 330439.807 | 130888.4 | 0 | 98345.75 | 559673.957 | 153641.1
2032 | 336987.871 | 131286.5 | 0 | 96146.01 | 564420.381 | 142802.1
2033 | 341431.703 | 131029.8 | 0 | 101566.4 | 574027.903 | 141184.9
2034 | 348438.791 | 131102.6 | 0 | 104564.6 | 584105.991 | 139470.6
2035 | 355891.297 | 131176.9 | 0 | 109391.2 | 596459.397 | 137673.4
2036 | 364988.974 | 131580.8 | 0 | 110001.3 | 606571.074 | 146337.4
2037 | 370581.387 | 131330 | 0 | 114555.7 | 616467.087 | 133854.6
2038 | 377903.79 | 131408.9 | 0 | 116781.1 | 626093.79 | 131858.3
2039 | 385269.022 | 131489.3 | 0 | 119097 | 635855.322 | 129802.4
2040 | 393530.313 | 131899.4 | 0 | 119969.3 | 645399.013 | 127697.7
NPV Cost (k$) |  |  |  |  | 7416325.7621 | 1525928.4941
Total Planning Period NPV (k$) | 8942254.2563
* Imports over the NS-NB Tieline and surplus energy from Maritime Link

## OI Low Load
Other Import Low Load
| Operating Costs (k$): |  |  |  |  | Capital Costs (k$):
| Total Unit Cost | Renewables IPPs | Other Import (Contract Energy) | Imports * | Total Operating Cost (k$) | Other Import (Contract Energy)
2015 | 465585.005 | 119579.4 | 0 | 0 | 585164.405 | 0
2016 | 478462.983 | 130682 | 0 | 0 | 609144.983 | 0
2017 | 414027.845 | 146118.93 | 15955.07 | 57929.85 | 634031.695 | 8117.627
2018 | 297407.577 | 173105.56 | 65988.24 | 112914.9 | 649416.277 | 56905.61
2019 | 300265.599 | 173374.02 | 70829.88 | 119022.2 | 663491.699 | 57449.86
2020 | 277454.257 | 177999.6 | 76639.4 | 87160.82 | 619254.077 | 57844.99
2021 | 282132.356 | 177957.78 | 81297.72 | 89871.9 | 631259.756 | 58102.72
2022 | 292899.792 | 178246.12 | 86975.18 | 87293.88 | 645414.972 | 58234.15
2023 | 292124.449 | 153867.52 | 89650.38 | 93321.13 | 628963.479 | 58249.43
2024 | 292739.559 | 154492.43 | 91709.57 | 96032.99 | 634974.549 | 58157.75
2025 | 294990.638 | 154463.16 | 93300.24 | 102256.7 | 645010.738 | 57967.75
2026 | 299152.98 | 154766.4 | 95177.8 | 101050.8 | 650147.98 | 57687.29
2027 | 304474.176 | 155073.81 | 97093.59 | 100156.7 | 656798.276 | 57323.64
2028 | 310603.071 | 155712.55 | 99318.95 | 97750.92 | 663385.491 | 56883.31
2029 | 301364.51 | 155698.5 | 101040.7 | 108211.3 | 666315.01 | 56372.52
2030 | 303768.722 | 156016.8 | 103073.9 | 113162.4 | 676021.822 | 55796.83
2031 | 306094.229 | 156339.4 | 105148.1 | 114614.7 | 682196.429 | 55161.66
2032 | 313755.843 | 156993.6 | 107557.1 | 110489.3 | 688795.843 | 54471.37
2033 | 315340.671 | 156994.8 | 109421.3 | 117611 | 699367.771 | 53730.81
2034 | 324970.949 | 157328.6 | 111622.2 | 118734.4 | 712656.149 | 52943.82
2035 | 330971.728 | 157667 | 113866.9 | 124901.9 | 727407.528 | 52113.97
2036 | 331122.756 | 158337.9 | 116475.5 | 131856.6 | 737792.756 | 51244.92
2037 | 339694.922 | 158356 | 118492.4 | 133703.1 | 750246.422 | 50339.67
2038 | 350749.678 | 158706.8 | 120875 | 132965.9 | 763297.378 | 49401.11
2039 | 356085.936 | 159061.3 | 123306.1 | 136860.4 | 775313.736 | 48432.16
2040 | 364498.183 | 159749.4 | 126129.3 | 137286.5 | 787663.383 | 47434.78
NPV Cost (k$) |  |  |  |  | 8602057.994 | 585072.2658
Total Planning Period NPV (k$) | 9187130.2597
* Imports over the upgraded NS-NB Tieline.

## Wind Low Load
Indigenous Wind Low Load
| Operating Costs (k$): | [5 empty] | Capital Costs (k$):
| Total Unit Cost | Renewables IPPs | Incremental Wind | Imports * | Less Exports * | Total Operating Cost (k$) | Incremental Wind | CT 50 MW 2019 | CC 250 MW 2030 | CC 250 MW 2035 | Wind Integration - Transmission | Wind Integration - Energy Storage | Total Capital Cost (k$)
2015 | 465585.005 | 119579.4 | 0 | 0 | 0 | 585164.405 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2016 | 478462.983 | 130682 | 0 | 0 | 0 | 609144.983 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2017 | 466287.716 | 140587.9 | 0 | 35974.88 | 4957.199 | 637893.297 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2018 | 463134.078 | 150759.6 | 0 | 41563.21 | 3917.493 | 651539.395 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2019 | 484285.355 | 159599.196 | 770.004 | 0 | 3926.047 | 640728.508 | 30837.96 | 5739.9266 | 0 | 0 | 25938.3825 | 17486.55 | 80002.8191
2020 | 427635.45 | 164173.8584 | 788.0416 | 0 | 15184.61 | 577412.74 | -4073.22 | 5636.0246 | 0 | 0 | 21344.4161 | 14389.494 | 37296.7147
2021 | 437782.607 | 164081.2171 | 800.8829 | 0 | 18123.27 | 584541.437 | 35685.66 | 5532.1228 | 0 | 0 | 21477.2575 | 14479.05 | 77174.0903
2022 | 445314.478 | 164321.8491 | 816.6509 | 0 | 19947.38 | 590505.598 | 56095.26 | 5428.2218 | 0 | 0 | 21556.067 | 14532.18 | 97611.7288
2023 | 451844.966 | 139896.3241 | 833.0759 | 0 | 20091.97 | 572482.396 | 66017.55 | 5324.3199 | 0 | 0 | 21585.0365 | 14551.71 | 107478.6164
2024 | 460072.397 | 140474.373 | 853.327 | 0 | 22256.34 | 579143.757 | 70255.64 | 5220.4187 | 0 | 0 | 21568.171 | 14540.34 | 111584.5697
2025 | 468917.194 | 140401.3171 | 866.5829 | 0 | 21224.12 | 588960.974 | 71413.07 | 5116.5167 | 0 | 0 | 21509.253 | 14500.62 | 112539.4597
2026 | 473059.907 | 140661.6782 | 884.3218 | 0 | 22009.88 | 592596.027 | 70900.55 | 5012.6154 | 0 | 0 | 21411.5755 | 14434.77 | 111759.5109
2027 | 480068.517 | 140927.3391 | 902.0609 | 0 | 23755.37 | 598142.547 | 69483.11 | 4908.7143 | 0 | 0 | 21278.2535 | 14344.89 | 110014.9678
2028 | 472708.872 | 141526.3714 | 923.2286 | 0 | 3736.992 | 611421.48 | 67575.19 | 4804.8124 | 0 | 0 | 21112.0905 | 14232.87 | 107724.9629
2029 | 490173.501 | 141474.4041 | 938.1959 | 0 | 133.1357 | 632452.9653 | 65401.27 | 4700.9107 | 0 | 0 | 20915.7565 | 14100.51 | 105118.4472
2030 | 520515.745 | 141755.8512 | 957.2488 | 0 | 35038.59 | 628190.255 | 63083.29 | 4597.0095 | 49593.2994 | 0 | 20691.61 | 13949.4 | 151914.6089
2031 | 515603.056 | 142043.6982 | 976.3018 | 0 | 16783.32 | 641839.736 | 60687.28 | 4493.1078 | 48695.5798 | 0 | 20441.965 | 13781.1 | 148099.0326
2032 | 525186.422 | 142664.0754 | 999.7246 | 0 | 30408.51 | 638441.712 | 58248.89 | 4389.2062 | 47797.862 | 0 | 20168.735 | 13596.9 | 144201.5932
2033 | 533992.596 | 142635.578 | 1015.722 | 0 | 16389.14 | 661254.756 | 55787.6 | 4285.3048 | 46900.1515 | 0 | 19873.7 | 13398 | 140244.7563
2034 | 545105.465 | 142940.611 | 1036.089 | 0 | 19341.32 | 669740.845 | 53313.83 | 4181.4027 | 46002.4334 | 0 | 19559.53 | 13186.2 | 136243.3961
2035 | 595851.847 | 143251.144 | 1056.456 | 0 | 51327.68 | 688831.767 | 50833.3 | 4077.5017 | 45104.7206 | 54755.0098 | 19226.225 | 12961.5 | 186958.2571
2036 | 613417.673 | 143897.244 | 1082.156 | 0 | 54051.48 | 704345.593 | 48349.2 | 3973.6001 | 44207.0011 | 53763.8549 | 18876.9 | 12726 | 181896.5561
2037 | 628323.671 | 143892.639 | 1099.161 | 0 | 52644.86 | 720670.611 | 45863 | 3869.6983 | 43309.2884 | 52772.7019 | 18511.11 | 12479.4 | 176805.1986
2038 | 641567.743 | 144222.701 | 1121.499 | 0 | 52308.11 | 734603.833 | 43375.8 | 3765.7963 | 42411.5764 | 51781.5569 | 18131.97 | 12223.8 | 171690.4996
2039 | 653253.7067 | 144559.363 | 1143.837 | 0 | 48297.56 | 750659.3467 | 36658.8 | 3661.8961 | 41513.8579 | 50790.4036 | 17739.48 | 11959.2 | 162323.6376
2040 | 659609.07 | 145230.819 | 1171.181 | 0 | 41547.17 | 764463.9 | -4842.1 | 3557.9938 | 40616.1415 | 49799.2562 | 17334.3965 | 11686.11 | 118151.7979
NPV Cost (k$) | [5 empty] | 8185363.5588 | [6 empty] | 1078842.4569
Total Planning Period NPV (k$) | 9264206.0157
* Imports and Exports over the NS-NB Tieline.